Project: Riverside Apts – 4th floor bath group

Location: 40 Mill St, Lowell

Date: 09/24/2026

| Qty | Size | Description | Notes |
| --- | --- | --- | --- |
| 200'ft | 3/4" | Copper L Pipe | 20' lengths |
| 40 | 3/4" | CXC 90° Elbows |  |
| 20 | 3/4" | CXC Tees |  |
| 12 | 3/4" x 1/2" | Copper Reducing Tees |  |
| 30 | 1/2" | CXC 90° Elbows |  |
| 6 | 3/4" | Ball Valves sweat | lead free |
| 2 | 3" | NH Wye |  |
| 4 | 3" | No-Hub Couplings HD |  |
| 1 |  | PVC Cement pint |  |